## Slide 1: PhD Committee Meeting December 2014
Kenneth Doig
ken.doig@petermac.org
Notes: This is a talk about what we are doing at Peter Mac to move high throughput sequencing into the clinical pathology area.
We’ve built a web application called Path-OS (for pathology operating system) to manage our variants.
In contrast to a lot of the talks in this forum it’s a bit more focused on software engineering than bioinformatics.

## Slide 2: Agenda
Context
Current R&D
  PathOS
  PipeCleaner
  Variant Viewer
Development Goals
Notes: A bit of signposting…

## Slide 3
The Context
Notes: I’ll just go through some background of the project

## Slide 4: Issues with pathology practices
Not scalable for NGS data generated, in the future…
  Multi-gene panels: 50 – 200+ genes
  Deep sequencing: low frequency variants
  High throughput: 100’s samples per seq. run
  More false positives
  More polymorphisms
  More VUS
Not scalable for analysis
  People limited: the number of minutes per variant
    Molecular Pathologists
    Curators
    Bioinformaticians
  More databases
    inconsistent nomenclatures, semantics and interfaces
  More literature, evidence
    inconsistent nomenclatures, semantics, diseases
    actual variants buried in text or supplementary files
Lack of clinical quality databases
  Labs aren’t depositing classified variants in the public domain
    Legal risks
    Commercial reasons
    Laziness
  If they do, can the data be trusted ?, what is the evidence recorded
Notes: So these are some of the issues with most current molecular pathology services.
Things are likely to get more complex as more is learned about disease pathology and epigenetics gets used.
It really comes down to a data filtering exercise, processing the variants and evidence in a clinically usable timeframe.

## Slide 5
Aim1
  To identify and articulate the technical, logistical and organisational barriers to entry for the adoption of high throughput sequencing (HTS) in a clinical oncology setting.
Aim2
  To develop the methodologies and software engineering systems necessary for the processing of HTS data from sequencer through to a clinical report.
Aim3
  To anticipate the possible technology directions for molecular diagnostics in cancer and develop software architectures and systems that can address future sequencing needs in a scalable manner.

## Slide 6: Path-OS Status
Current status
  Release v0.995 – 22 releases from early 2013
  44 users
  Daily operational use for germline, haem. and somatic
  23,071 sequenced samples, 784,766 variants
  Amplicon panel focused
Key goals
  Automate the processing from sequencer to draft report
  Automate curation evidence collection
  Sanitise data from external sources
  Automated reporting
  Best practice software engineering

## Slide 7
Path-OS
Notes: So this is what we’ve come up with and have been using for the last 18 months

## Slide 8: Path-OS Overview
Patient Sample
Genologics wet lab LIMS
External Variant DBs
COSMIC
Ensembl
Annovar
UCSC
Clinvar
etc
Loader
Pipeline data repository
FASTQ
BAM
VCF
VEP
Pipeline
PipeCleaner
PathOS
Web Server
Pipeline Validation QC Reporting
Pipeline configuration
Sequencers
ETL configuration
Periodic DB download and integration
Sequencing QC
Clinical Reporting
Read QC
Synthtetic Reads
Known samples
Filtering
configuration
Users
molecular scientists
clinicians
researchers
Export curated variants to global repositories
Hospital Records
Notes: Overview of the major components of Path-OS.
Samples have DNA extracted, quantified and amplified in preparation for sequencing.
After sequencing, the reads are aligned, variant called and annotated by an amplicon customised pipeline.
Following loading into the DB, the variants are curated and reported on via the web GUI
We also link into various reference datasets such as COSMIC, Ensembl and LSDBs
Variant Normalisation:
Without uniform variant naming, its not possible to automatically match a sequenced variant with external DBs and literature
We’ve built a variant normalising sub-system to make all variants uniform and compliant with HGVS
Also needed a java interface to Mutalyzer.nl web site to automatically validate nomenclature
Process involves 3 distinct phases:
Wet lab, Bioinformatics, Clinical informatics

## Slide 9: Sample Data Flow
Histology
DNA Extract
PCR
Sequencing
Alignment
Variant Calling
Annotation
DB Load
Filtering
Known Variant ?
Publish Report
Curation
Peter Mac Mutation DB
External and Locus Specific DBs
Yes
No
Patient Clinical Report
Document Assembly
Variant Normalisation
Report Editing and Signoff
Manual Step
Automatic Step
Wet Lab
Bioinformatics
Clinical Informatics
Patient Sample
Notes: Samples from our patients or from external pathology services come into our lab where they’re registered
They have their DNA extracted, amplified, quantified and then ligated to primers ready for sequencing.
This is controlled by our LIMS which we’re currently implementing in Genologics.
We have 2 Illumina MiSeqs, a HiSeq and an ABI 3730 for sanger sequencing
Our bioinformatics pipeline then crunches the data and creates an annotated VCF file of variants found in each sample
These are loaded into a variant database and further enriched with external cancer and LSDBs such as Cosmic, HGMD, BIC Iarc and Ensembl
Researchers and clinicians can then filter these variants as they wish and view them via the web interface or hyperlinked 3rd party systems such as IGV
The final step is the production of a patient clinical report of mutations found, their clinical consequences and recommended therapies.
It’s this step that is less well defined and where we are putting a lot of our effort

## Slide 10: Objects
etc…
Notes: This is a simplified entity relationship diagram of the PathOS objects
A patient has one or more samples such as blood or tumour
These samples may have multiple tests on them, some of which might be a NGS sequencing assay
A seqrun is the root sequencing object: a set of samples that are sequenced on a platform using a set of panels.
A sample may be sequenced multiple times in multiple runs (or even the same run) each instance generating a set of alignment statistics.
These are used to determine the quality of its sequencing data (align_stats)
Each sequenced sample generates many sequenced variants (seq_variant) which are annotated with many attributes.
These annotated variants possibly match with a manually curated variant (variant) that has curated against existing reference variants in DBs such as Cosmic and Clinvar etc
We store local copies of these databases to improve lookup speed as well as allowing them to searched by users.

## Slide 11: Run QC
This run in the context of past runs of the same panel
Per sample read yield highlighting below average
Amplicon performance read distribution
Notes: Quality Control is a critical part of clinical sequencing
This is a screen shot of a sequencing run showing the interactive graphs generated on-the-fly by the system.
Quality control is monitored at the sequencing run, sample and the amplicon level.
A sequencing run’s read yield is compared to all previous runs of the same panel and should be between ±2 s.d. for the last ten runs.
All samples are compared for the run and samples with below average reads are highlighted in red (middle chart).
The per amplicon reads are binned and graphed to highlight their distribution and flag any low read amplicons in red (bottom chart).
Both a sequencing run and samples within the run must be QC passed or failed prior to reports being produced.
This run has all the characteristics of a good run, close to the top of the s.d bands for the panel, uniform yield for all samples and a good distribution of amplicon reads

## Slide 12: Classification Page
Automatically generated classification
Justification
free text field
Check boxes for variant evidence
Evidence type tool tip
Notes: Now I’ll just show you a screen shot to hopefully clarify how classification works.
New variants not currently in the variant database must be manually curated before they can be reported on.
This is done by assigning lines of evidence on the curation web page
The curator can select from a set of evidence checkboxes characterising the variant
Tooltips are displayed when the mouse hovers over the checkbox to guide the curators selection
The combination of checkboxes selected is used to algorithmically assign a 5-level pathogenicity class

## Slide 13: Classifying variants for the clinic
C5: Pathogenic
C4: Likely pathogenic
C3: Unknown pathogenicity
C2: Unlikely pathogenic
C1: Not pathogenic
5 Level Classification
Stand alone
Strong
Supporting
Criteria
or
or
Pathogenic evidence
Stand alone
Strong
Supporting
Benign
evidence
=
or
=
or
=
or
or
=
All other combinations =
Notes: The ACMG (The American College of Medical Genetics) have released draft guidelines for mapping variant evidence into the 5-class pathogenicity scale.
We’ve adapted these guidelines and implemented the algorithm for converting lines of evidence into the five classes which we colour consistently throughout the UI

## Slide 14: Software Components
Role | Package | Overview
Language | Groovy | Java on steroids, powerful JVM language
Web Framework | Grails | Rich Groovy based high productivity framework
Code repository | GitLab | Private GitHub instance
Database | MySQL | Widely adopted RDB, good performance
User interactivity | Javascript plugins | Leverage best available js e.g. Jquery, Google Charts
Object Persistence | Hibernate | Java standard for mapping POJOs to RDB
Searching | Lucene | Full-featured text search engine
IoC Layer | Spring | Java standard for inversion of control
IDE | IntelliJ | Comprehensive developers environment for Java etc
Build Management | Gradle | Groovy based DSL leverages Ant and CoC
DB Migration Mgmt | LiquiBase | DSL based data migration tool for schema versioning
Issue Management | Jira | Best of breed issue management tracker
LIMS | GenoLogics | User friendly LIMS for NGS
Aligner | Primal | Peter Mac in-house amplicon aligner, tuned for amplicons
Variant Caller | VarScan 2 | Suitable for somatic and germline (for now)
Annotation | Ensembl, Annovar | Rich set of annotations for multiple transcripts
Notes: We’ve built the system on a range of enterprise grade components which you’d find in commercial software developments (apart from the last 4 which are specific for the NGS domain)

## Slide 15: Server deployment
Annotation
PathOS
Tomcat Web Server
Apache HTTP Sever
MySQL DB Server
Data Repository
Loader
Variant Call
Alignment
Pipeline
Port:6000
VCF
VEP
BAM
BED
FASTQC
Reference Data
Static Data
Patient Data
Sample Data
LIMS Data
Sequencing Data
Patient Sample
Genologics wet lab LIMS
PathOS.war
Cloud Instance
Data
Assets
User Site
Notes: This is the canonical deployment configuration for maximum flexibility with three separate servers for the application, database and the pipeline repository.
The servers can be deployed locally or remotely to minimise costs and/or data transfer bandwidth.
For example you might choose to locate the data repository close to the sequencer so you don’t shuffle massive fastq files around
or it might be cheaper to get a hosted web server rather than by a machine and maintain it and the infrastructure
But of course the application, DB and pipeline servers can all be co-located
IGV accesses the pipeline server directly to display BAM and VCF files

## Slide 16
The Panels
Notes: The technology workhorse for our clinical sequence lab is targeted amplicon panels.
PathOS supports exome and WGS sequencing but amplicons give the best tradeoff in terms of costs, specificity and turn around time.
Its critical to have a timely response to a diagnostic request so that the treating clinician can make therapeutic decisions when needed.

## Slide 17: Somatic Panel
Oncogenes
Tumour suppressors
Consequence type
Other
Missense
Frame shift
Splice site
Stop gained
Gene type
Notes: The in-house somatic panel covers 12 of the common cancer oncogenes and tumour suppressors.
This panel has been designed by pathology lab to cover a custom set of genes and exons with overlapping amplicons in key regions.
The Variants are from all sequenced samples using the panel from the last 6 months or so. They are coloured and shaped based on consequence type.
You can see some loss of function variants, the stop-gained or other truncating mutations (the dark red diamond)
Particularly in TP53 which is inactivated in over 50% of cancers.
The current in-house germline panel contains BRCA 1 and 2 and TP53 and PTEN, all tumour suppressor genes. This is used for blood samples to detect familial cancers.
TruSeq:
The TruSeq panel is an off the shelf cancer panel from Illumina containing 48 cancer implicated genes using 212 amplicons.
Most of the amplicons (grey tiles) aren’t redundant which causes reliability problems.
This circos plot is generated outside of Path-OS but will be embedded in a later release so we can generate these on-the-fly

## Slide 18
The Filtering
Notes: I’d now like to take you through some of the filtering that we do to prune back the false positives that NGS dumps out.

## Slide 19: Filtering Variants
Raw
Polymorphisms
Somatic
Passed
Notes: Filtering allows us to go from the top left hand side to the bottom.
The top left has a log vertical scale and is all the raw variants in Path-OS about ½ million. These consist of artefacts, polymorphism and somatic mutations
The middle shows the dbSNP annotated variants that are typically polymorphisms.
The RHS shows variant annotated as being in COSMIC so present as somatic mutations.
But after filtering, what we are left to prioritize and classify is the bottom chart with a linear vertical axis ~15,000 variants from the last 2 years of sequencing.

## Slide 20: Sample Curation Page
In-silico and DB classifiers
Filter Flags
Notes: A key way of prioitising variants is by using the filter flag attributes assigned to every variant.
This screen shot shows a sample curation page with a list of variants, one per row.
We integrate about 12-15 in-silico classifiers which we categorise and colour by pathogenicity / deleteriousness
Each row has one or more filter flags assigned which can be used to find or hide categories of variants.
There is a multi clause searching dialogue at the top left (next slide)

## Slide 21: Variant Searching and Filtering
“OR” clause
Template searches
Variant attribute
Predicate
Value
Notes: The system has a comprehensive variant searching and filtering system.
Users can use templated searches (shown in the drop down box at the bottom) OR they can construct a customised multi-clause search.
This gives extremely fine control on how variants are selected and prioritised.
This particular filter looks for Lung cancer variants in these 3 genes at a variant allele frequency of > 3% but not in EVS at more than 1%
as well as removing variants with any of these 4 filter flags. (next slide)

## Slide 22: Variant Filter Attributes
Filter Flag | Description | Filter Criteria
pass | Passed all filters | no filters match
vaf | Low Variant Allele Frequency | < 8% Somatic <15% Germline
vrd | Low Total Read Depth | < 100
vad | Low Variant Read Depth | < 50
blk | Assay panel specific black list | user defined
con | Inferred Benign Consequences | system defined
gmaf | High Global Minor Allele Frequency | > 1%
pnl | High Variant Frequency in Panel | > 50%
sin | Singleton variant in duplicate sample for run | Not in both samples
amp | Uneven read distribution across amplicons | Single amp. bias
Multiple filter flags may be assigned per variant
Notes: These are the currently used automatic filters that are applied to variants.
Filtering criteria can be defined on a per panel basis by administrators.
Filtering is only for prioritising variant and both unfiltered and filtered variants can all be curated and reported on.
We found that the parameters need to be technology specific
eg a different set of black listed variants is needed for Haloplex panels compared to TruSeq panels and different again for in–house panels.
So for a variant to be given a “pass” filter flag it doesn’t meet any of the criteria in the last column.

## Slide 23: Filter effects
Notes: To verify that the filters were taking us in the right direction we looked at CADD (Combined Annotation Dependent Depletion) scores as a measure of pathogenicity and hence more likely to be reported on.
PathOS annotates each variant with the top 20% of CADD score where the larger the value, the more likely the variant is deleterious.
These show the mean CADD scores for the variants that have scores. We partitioned the set into a passed filter set (red) or a failed set (blue).
These categories show the amount of enrichment you get from applying the filter. The last columns compares a curator assigned reportable category against the average of all filtered variants.

## Slide 24
PipeCleaner
Notes: I’d now like to take you through some of the filtering that we do to prune back the false positives that NGS dumps out.

## Slide 25: Problem Statement
There is a need to benchmark NGS pipelines against known input data to ensure the pipeline meets expectations
  Simulate sample heterogenity
    Tumour/Normal
    Tumour heterogenity
  Simulate sample quality eg FFPE
  Simulate sequencer characteristics
    Paired / single, read length, quality across read etc
Goals:
  To generate synthetic reads that match the expected output from a sample and sequencer
  To run the reads through a pipeline being tested
  To compare the synthetic input reads with the pipeline variant calls
  To generate false positive lists, false negative lists and understand pipeline sensitivity

## Slide 26: The problem with NGS tools
Tools built by researchers not sw developers
Lab centric not organisation centric
Built to achieve a near term task
Not designed as an end in itself
Scripting in pref. to HLL – speed of reaching goal not longevity
  rarely type safe
  poor behaviour under novel conditions
Poor documentation – incode and external
Usually unmaintainable – except for original development group
Best efforts support
Often not optimised for speed, memory or disk
Task specific – limited abstraction for larger goals
Poorly designed configuration parameters
  poor defaults
  bazillion options (often the legacy of original testing)

## Slide 27: PipeCleaner
simulated read data
Pipeline Under Test
Variant Generator (pc-vcfgen)
test genomes
Pipeline results: variant calls
assemblies
alignments
Result Comparator
test log
Read Generator
(pc-readsim)
SNPs, indels (VCF file) and polymorphisms
“mutated” genomes
reference genomes
(if mapping to reference)
Test Controller

## Slide 28: Types of Testing
Unit testing
  built-in to IDE eg IDEA/J Builder
Integration testing
  integrate early and integrate often
Regression testing
  after any system/data/ change
  rebuild (make, ant) each night
  regression test each night
Functional testing
  define all characteristics of pipeline / curation
Load/Performance testing
  scalability of system for data vaolumes
  scalability for user base growth
Catch-22
  You only test for things that should work

## Slide 29: PipeCleaner Components
Generate
expect.vcf
Generate
synthetic
reads
Run the test
on PipeCleaner

## Slide 30: PipeCleaner Results
FalsePositive.vcf
TruePositive.vcf
FalseNegative.vcf

## Slide 31: Data flow
Patient Sample
Pipeline Under Test
PipeCleaner configuration
Sequencer
known.fastq.gz
OR
expect.vcf
Known samples
expect.vcf
synthetic.fastq.gz
pc-readsim
pc-vcfgen
PipeCleaner
expect.vcf
actual.vcf
+
PC Reporting
FalsePositive.vcf
FalseNegative.vcf
TruePositive.vcf
Synthetic samples
Read Simulator configuration

## Slide 32
VariantViewer

## Slide 33: Cloud Version

## Slide 34: Cloud Version “PathOS-lite”
Todo List
Embedded JS browser
Multi-sample VCFs
gVCF support
Export VCF files
Add user annotations
Automatic annotation
Publicise availability

## Slide 35
The Future

## Slide 36: In the Pipeline…
Pluggable modular pipelines (using bpipe)
Upload existing FASTQ, BAM and VCF files
PipeCleaner for Pipeline validation
Include CNV and fusion modules
Drugability of variants and clinical trials
Write paper…
Notes: We use Jira for issue tracking and feature management and the current estimate of pending work is nearly 3000 hours.

## Slide 37: Towards automated curation
Four key dimensions for a variant
Artifact Score: assay specific probablity
Database/Literature Score: categorical/qualitative
Pathogenicity Score: context specific probability
Actionability Score: categorical/qualitative
Resulting from technical errors in panel processing
Free of technical errors in panel processing
No known occurrences in data sources
Expert curated in multiple databases
Benign
Pathogenic
No known therapy for this variant
PBS approved therapy or open clinical trial

## Slide 38: Key Targets (2015)
Pluggable pipeline with dockerised deployment
Pluggable data source federator for scalable annotation
Drug / therapy data sources
Clinical trial data sources
Sample cohorts and relationship graphs (eg pedigrees)
PipeCleaner™ for pipeline profiling and comparison
VcfViewer light weight variant annotator
Social networking curation
Pipeline artifact modeling for panels

## Slide 39: Sequencing 5 years out
Scalability in every dimension
  read length (46 reads with no errors !)
  single molecule sequencing
  larger regions, more genes, more depth, W[EG]S
  more biopsies per patient
    liquid, spatial, temporal
  ncRNA
  scalable compute resources
    on-demand processor instances
    cloud based resources
    outsourced IT

## Slide 40: Sequencing 5 years out (cont.)
hg20, hg21
  Multiple haplotypes
  Multiple ethnicities
  reference genomes are graphs not linear
streaming sequencers
  lossy compression of sequencer data eg CRAM format
  feedback loop from bioinformatics to sequencer

## Slide 41: Sequencing 5 years out (cont.)
Data sources
  No one DB to rule them all
    fragmented data -> pluggable data federation
  larger coverage – more genes, more variants
  richer phenotype attributes
  Allow for arbitrary key-value pairs for all objects

## Slide 42: Sequencing 5 years out (cont.)
Scalability of human resources
  Virtual tumour board
    Harness distributed expertise asynchronously
    Multi media interaction
  Thresholding attributes - “traffic lights”
    Tune cutoffs to match work force
Clearly ‘in’ -> automate
Clearly ‘out’ -> automate
Attribute
value
Ambiguous -> manual assessment

## Slide 43: Sequencing 5 years out (cont.)
Illumina will own Everything !
  this is NOT a good thing
Commoditisation will go from the sequencer upstream
We are still a cottage industry
Engineering rigour is needed to keep pace
  Software engineering
  Robotics automation
  Scalable processes
Technologies churn, but biology doesn’t